## Slide 9
DIY Air Quality Sensors
185 US$
175 US$
200 US$

## Slide 14
Temp/Hum
CO
NO2
Particulates
Easy to build
Arduino based
<100 GBP
SD card
Arduino
sound

## Slide 16
Calibration
In lab:
  Use cylinders of pure gas + reference sensor
  Use pre-mixed cylinders with known concentrations (£100 to £180)
In field:
  Co locate sensor with a deployed sensor
http://www.oxford-airwatch.aeat.co.uk/index.php

## Slide 19
Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
pm10 official | 17 | 13 | 18 | 21 | 22 | 23 | 23 | 25 | 31 | 34 | 33 | 29 | 23 | 29 | 33 | 29 | 25 | 25 | 18 | 17 | 18 | 22 | 17 | 25
pm10 raw | 1.1067 | 0.078889 | 0.171 | 2.2244 | 5.3833 | 0.32778 | 0.934 | 2.9933 | 0.13 | 4.2833 | 4.426 | 11.2689 | 2.428 | 0.27889 | 7.6611 | 7.84 | 5.1356 | 9.4911 | 0.40889 | 0.74111 | 4.3667 | 0.15889 | 0.12 | 4.0933
Chart: 
| 9:00:00 | 10:00:00 | 11:00:00 | 12:00:00 | 13:00:00 | 14:00:00 | 15:00:00 | 16:00:00 | 17:00:00 | 18:00:00 | 19:00:00 | 20:00:00 | 21:00:00 | 22:00:00 | 23:00:00 | 0:00:00 | 1:00:00 | 2:00:00 | 3:00:00 | 4:00:00 | 5:00:00 | 6:00:00 | 7:00:00 | 8:00:00
no2 official | 52 | 52 | 57 | 59 | 57 | 59 | 63 | 73 | 77 | 88 | 86 | 71 | 63 | 71 | 65 | 42 | 38 | 33 | 25 | 19 | 33 | 59 | 48 | 59
no2 raw | 796 | 706 | 662.9 | 629.2222 | 646 | 628.1111 | 605.2 | 608.7778 | 549.4 | 519.2222 | 511.1 | 507.6667 | 510.7 | 494.6667 | 484.1111 | 513.5556 | 509.8889 | 517.2222 | 531.4444 | 515.1111 | 497.2222 | 455.1111 | 464.1111 | 469.5556

## Slide 22
Thanks to
Saint Ebbes New Development Residents Association
Network for Clean Air

## Slide 23
Contact
dariosalvi78@gmail.com